SOWsmith Civil & Earthwork — Statement of Work (Exemplar)

SOWsmith · Bid Package · Supply Chain

| Document ID | BP-SOW-CE-004 |
| --- | --- |
| Service type | Civil & Earthwork |
| Document type | SOW |
| Version | v2.0 |
| Effective date | 2026-02-10 |
| Owner | Supply Chain |
| Classification | Internal |
| Review status | STANDARD REVIEW |

# 1. PROJECT OVERVIEW

Site preparation, grading, access road, and foundation earthwork for a new facility pad, delivered to line and grade with documented compaction and erosion control in place.

# 2. SCOPE OF WORK

The contractor shall clear, strip, and grade the site to the specified line and grade.

The contractor shall construct the access road and laydown areas per the drawings.

The contractor shall excavate and prepare foundation subgrades and place structural fill.

The contractor shall install erosion and sediment controls and maintain them.

The contractor shall provide compaction testing records for all placed fill.

# 3. EXCLUSIONS & ASSUMPTIONS

Concrete foundations, structures, and surveying control are by others unless stated.

Permitting and geotechnical investigation are by SOWsmith unless the bid documents state otherwise.

# 4. DELIVERABLES & SCHEDULE

The contractor shall deliver a graded, compacted site with as-built grades, compaction test reports, and erosion-control documentation.

# 5. MATERIALS, EQUIPMENT & SITE CONDITIONS

SOWsmith provides survey control and import-fill source where specified; the contractor provides equipment, labor, and erosion-control materials. Weather and access conditions apply.

# 6. SAFETY, QUALITY & COMPLIANCE

All work is performed under SOWsmith's safety-first program. The contractor complies with OSHA construction standards, applicable DOT and PHMSA requirements, the site-specific Job Safety Analysis, and all permit-to-work controls. Personal protective equipment is mandatory. Quality follows the referenced specifications and inspection/test plan.

# 7. ACCEPTANCE & REFERENCES

Work is accepted on grade verification, passing compaction tests, and documentation submission. Acceptance follows the referenced standards:

SOWsmith Standard Bid Clause Library

SOWsmith Bidder Instructions

---

VERSION: v2.0

DATE: 2026-02-10

SERVICE TYPE: Civil & Earthwork

DOCUMENT TYPE: SOW

REVIEW STATUS: STANDARD REVIEW

---