SOWsmith Electrical & Instrumentation — Statement of Work (Exemplar)

SOWsmith · Bid Package · Supply Chain

| Document ID | BP-SOW-EI-003 |
| --- | --- |
| Service type | Electrical & Instrumentation |
| Document type | SOW |
| Version | v1.2 |
| Effective date | 2025-09-20 |
| Owner | Supply Chain |
| Classification | Internal |
| Review status | STANDARD REVIEW |

# 1. PROJECT OVERVIEW

Installation and termination of electrical and instrumentation systems for a new pump or metering station, delivered tested and ready for loop checks and commissioning support.

# 2. SCOPE OF WORK

The contractor shall install cable tray, conduit, and supports per the drawings.

The contractor shall pull, terminate, and label power, control, and instrument cabling.

The contractor shall install field instruments and junction boxes per the specifications.

The contractor shall perform continuity, megger, and loop checks and document results.

The contractor shall support commissioning and functional testing as directed.

# 3. EXCLUSIONS & ASSUMPTIONS

Control-system configuration and PLC programming are by others unless stated.

Instrument supply is by SOWsmith unless the bid documents state otherwise.

# 4. DELIVERABLES & SCHEDULE

The contractor shall deliver installed and tested electrical and instrumentation systems, loop-check sheets, megger records, and red-lined drawings.

# 5. MATERIALS, EQUIPMENT & SITE CONDITIONS

SOWsmith supplies major instruments and panels; the contractor supplies cable, tray, conduit, fittings, and labor. Classified-area requirements apply where indicated.

# 6. SAFETY, QUALITY & COMPLIANCE

All work is performed under SOWsmith's safety-first program. The contractor complies with OSHA construction standards, applicable DOT and PHMSA requirements, the site-specific Job Safety Analysis, and all permit-to-work controls. Personal protective equipment is mandatory. Quality follows the referenced specifications and inspection/test plan.

# 7. ACCEPTANCE & REFERENCES

Work is accepted on successful loop checks, documentation submission, and energization readiness. Acceptance follows the referenced standards:

SOWsmith Standard Bid Clause Library

SOWsmith Bidder Instructions

---

VERSION: v1.2

DATE: 2025-09-20

SERVICE TYPE: Electrical & Instrumentation

DOCUMENT TYPE: SOW

REVIEW STATUS: STANDARD REVIEW

---