SOWsmith Facility Maintenance — Statement of Work (Exemplar)

SOWsmith · Bid Package · Supply Chain

| Document ID | BP-SOW-FM-002 |
| --- | --- |
| Service type | Facility Maintenance |
| Document type | SOW |
| Version | v1.3 |
| Effective date | 2025-11-03 |
| Owner | Supply Chain |
| Classification | Internal |
| Review status | STANDARD REVIEW |

# 1. PROJECT OVERVIEW

Planned and corrective maintenance at an operating compressor or processing facility during a scheduled turnaround window, restoring equipment to service safely and on schedule.

# 2. SCOPE OF WORK

The contractor shall service valves, actuators, and rotating equipment per the work list.

The contractor shall perform minor mechanical repairs and component replacements as directed.

The contractor shall surface-prep and paint designated equipment and structures.

The contractor shall support lockout/tagout and confined-space entries per site procedures.

The contractor shall clean up and restore work areas at the end of each shift.

# 3. EXCLUSIONS & ASSUMPTIONS

Major overhauls and capital replacements are excluded unless added by change order.

Engineering, spare-parts procurement, and electrical isolation are by others unless stated.

# 4. DELIVERABLES & SCHEDULE

The contractor shall deliver completed work-list items, red-lined records of repairs, and a turnaround close-out report within the maintenance window.

# 5. MATERIALS, EQUIPMENT & SITE CONDITIONS

SOWsmith provides facility access, isolation, and major spares; the contractor provides labor, tools, and consumables. Work occurs in an operating facility with strict permit controls.

# 6. SAFETY, QUALITY & COMPLIANCE

All work is performed under SOWsmith's safety-first program. The contractor complies with OSHA construction standards, applicable DOT and PHMSA requirements, the site-specific Job Safety Analysis, and all permit-to-work controls. Personal protective equipment is mandatory. Quality follows the referenced specifications and inspection/test plan.

# 7. ACCEPTANCE & REFERENCES

Work is accepted on completion of the work list, return-to-service checks, and the close-out report. Acceptance follows the referenced standards:

SOWsmith Standard Bid Clause Library

SOWsmith Bidder Instructions

---

VERSION: v1.3

DATE: 2025-11-03

SERVICE TYPE: Facility Maintenance

DOCUMENT TYPE: SOW

REVIEW STATUS: STANDARD REVIEW

---