SOWsmith Cathodic Protection — Statement of Work

SOWsmith · Bid Package · Supply Chain

| Document ID | BP-SOW-CP-008 |
| --- | --- |
| Service type | Cathodic Protection |
| Document type | SOW |
| Version | v1.2 |
| Effective date | 2025-10-12 |
| Owner | Supply Chain |
| Classification | Internal |
| Review status | STANDARD REVIEW |

# 1. PROJECT OVERVIEW

Installation and testing of cathodic protection systems to protect buried or submerged assets.

# 2. SCOPE OF WORK

The contractor shall install anodes, rectifiers, and test stations per the drawings.

The contractor shall bond and connect the system and verify continuity.

The contractor shall take baseline potential readings and document results.

The contractor shall provide commissioning and survey records.

# 3. EXCLUSIONS & ASSUMPTIONS

Work not expressly listed is excluded.

Engineering, permitting, and material supply are by others unless stated.

# 4. DELIVERABLES & SCHEDULE

The contractor shall deliver the completed work with the records and as-builts required by the referenced specifications.

# 5. MATERIALS, EQUIPMENT & SITE CONDITIONS

Material and equipment supply is split between SOWsmith and the contractor as stated in the bid documents; site and access conditions are as provided.

# 6. SAFETY, QUALITY & COMPLIANCE

All work is performed under SOWsmith's safety-first program. The contractor complies with OSHA construction standards, applicable DOT and PHMSA requirements, the site-specific Job Safety Analysis, and all permit-to-work controls. Personal protective equipment is mandatory. Quality follows the referenced specifications and inspection/test plan.

# 7. ACCEPTANCE & REFERENCES

Work is accepted on completion, inspection, and documentation per the referenced standards:

SOWsmith Standard Bid Clause Library

SOWsmith Bidder Instructions

---

VERSION: v1.2

DATE: 2025-10-12

SERVICE TYPE: Cathodic Protection

DOCUMENT TYPE: SOW

REVIEW STATUS: STANDARD REVIEW

---