SOWsmith Station & Terminal Construction — Statement of Work

SOWsmith · Bid Package · Supply Chain

| Document ID | BP-SOW-ST-011 |
| --- | --- |
| Service type | Station & Terminal |
| Document type | SOW |
| Version | v1.5 |
| Effective date | 2025-11-28 |
| Owner | Supply Chain |
| Classification | Internal |
| Review status | STANDARD REVIEW |

# 1. PROJECT OVERVIEW

Construction of station/terminal mechanical, piping, and structural scope to deliver a complete facility.

# 2. SCOPE OF WORK

The contractor shall install piping, supports, and equipment per the drawings.

The contractor shall erect structural steel and platforms as shown.

The contractor shall support testing, flushing, and commissioning activities.

The contractor shall provide as-builts and turnover documentation.

# 3. EXCLUSIONS & ASSUMPTIONS

Work not expressly listed is excluded.

Engineering, permitting, and material supply are by others unless stated.

# 4. DELIVERABLES & SCHEDULE

The contractor shall deliver the completed work with the records and as-builts required by the referenced specifications.

# 5. MATERIALS, EQUIPMENT & SITE CONDITIONS

Material and equipment supply is split between SOWsmith and the contractor as stated in the bid documents; site and access conditions are as provided.

# 6. SAFETY, QUALITY & COMPLIANCE

All work is performed under SOWsmith's safety-first program. The contractor complies with OSHA construction standards, applicable DOT and PHMSA requirements, the site-specific Job Safety Analysis, and all permit-to-work controls. Personal protective equipment is mandatory. Quality follows the referenced specifications and inspection/test plan.

# 7. ACCEPTANCE & REFERENCES

Work is accepted on completion, inspection, and documentation per the referenced standards:

SOWsmith Standard Bid Clause Library

SOWsmith Bidder Instructions

---

VERSION: v1.5

DATE: 2025-11-28

SERVICE TYPE: Station & Terminal

DOCUMENT TYPE: SOW

REVIEW STATUS: STANDARD REVIEW

---